## Alerts
alert_id | site_name | hardware_name | event_type_name | description | severity | is_resolved | is_acknowledged | alert_start | alert_end | resolved_time | timezone | asset_code | impact | capacity | resolved_by
126379653 | Green Elementary |  | Rule Tool Alert | Errors: , Performance (1) Communication: All tests passed | 5 | FALSE | FALSE | 2025-07-26 08:59 |  |  | US/Eastern | UNK | 0
126510797 | Gallia Academy |  | Rule Tool Alert | Errors: , Performance (4) Communication: 3 test suites failed out of 5 (4 new messages) | 5 | FALSE | FALSE | 2025-07-27 15:49 |  |  | US/Eastern | UNK | 0
147479322 | Gallia Academy | Solectria 36kW Inverter - 1 | Device communication | This error may be the result of one of the following: 1. Wiring problem between the device and the gateway. | 5 | FALSE | FALSE | 2026-04-06 15:01 |  |  | US/Eastern | INV | 0 | 36
126450830 | Rio Grande Elementary |  | Rule Tool Alert | Errors: , Performance (1) Communication: All tests passed | 5 | FALSE | FALSE | 2025-07-26 22:05 |  |  | US/Eastern | UNK | 0
154085011 | Rio Grande Elementary | Elkor Production Meter | Power Meter Check 2.0 | Power phase error A = -0.1 kW, B = 0.1 kW, C = -0.1 kW | 5 | FALSE | FALSE | 2026-06-09 01:06 |  |  | US/Eastern | MTR | 0 | 364
146229067 | RRH 1 & 2 |  | Report run-time alert | [WARNING] Failed to get recent value but partial values do exist, so issuing the report: [154310 Hardware] HardwareInfo Elkor Production Meter Site 1 | 5 | FALSE | FALSE | 2026-03-24 13:06 |  |  | US/Eastern | UNK | 0
154084266 | RIT |  | Rule Tool Alert | Errors: , Performance (6) Communication: All tests passed | 5 | FALSE | FALSE | 2026-06-09 00:57 |  |  | US/Eastern | UNK | 0
153896421 | Monroe Landfill | Solectria PVI 60KTL Inverter - 20 | .Chint / Solectria / Canadian String Inv Faults | Insulation Resistance Low - IsolationErr | 5 | FALSE | FALSE | 2026-06-07 10:30 |  |  | US/Eastern | INV | 100 | 60
154081162 | Monroe Landfill |  | Rule Tool Alert | Errors: , Performance (51) Communication: 2 test suites failed out of 5 (3 new messages) | 5 | FALSE | FALSE | 2026-06-09 00:22 |  |  | US/Eastern | UNK | 0
152420758 | WCPS - William Perry Elementary School |  | Performance Index Alert | Performance Index below limit. Performance index: 0.519 | 5 | FALSE | FALSE | 2026-05-24 18:13 |  |  | US/Eastern | UNK | 5
154062994 | WCPS - William Perry Elementary School |  | Rule Tool Alert | Errors: , Performance (8) Communication: 1 test suite failed out of 5 (2 new messages) | 5 | FALSE | FALSE | 2026-06-08 20:46 |  |  | US/Eastern | UNK | 0
154064582 | WCPS - Kate Collins Middle School |  | Performance Index Alert | Performance Index below limit. Performance index: 0.792 | 5 | FALSE | FALSE | 2026-06-08 21:03 |  |  | US/Eastern | UNK | 5
152669577 | Butler Maple |  | Rule Tool Alert | Errors: Configuration (1) Communication: All tests passed | 5 | FALSE | FALSE | 2026-05-26 23:15 |  |  | US/Pacific | UNK | 0
153782097 | Warbler |  | Rule Tool Alert | Errors: Communication (63) Communication: 2 test suites failed out of 5 (63 new messages) | 5 | FALSE | FALSE | 2026-06-06 05:07 |  |  | US/Eastern | UNK | 0
126551249 | Eagle |  | Rule Tool Alert | Errors: , Configuration (1) Communication: 2 test suites failed out of 5 (7 new messages) | 5 | FALSE | FALSE | 2025-07-27 22:26 |  |  | US/Eastern | UNK | 0
153811071 | Eagle | CPS SCH125kTL Inv - 8 | .Chint / Solectria / Canadian String Inv Faults | External Fan Err - ExtFanerr | 5 | FALSE | FALSE | 2026-06-06 13:59 |  |  | US/Eastern | INV | 100 | 125
153824098 | Eagle | CPS SCH125kTL Inv - 5 | .Chint / Solectria / Canadian String Inv Faults | External Fan Err - ExtFanerr | 5 | FALSE | FALSE | 2026-06-06 16:03 |  |  | US/Eastern | INV | 100 | 125
153871887 | Eagle | Cell Modem Reporting (RV50) | Device heartbeat | This error may be the result of one of the following: 1. Wiring problem between the gateway and the internet connection. | 5 | FALSE | FALSE | 2026-06-06 19:06 |  |  | US/Eastern | DA | 0 | 0
153846344 | Eagle | PowerLogger 1000 (SO95895) | Gateway heartbeat | This error may be the result of one of the following: 1. Wiring problem between the gateway and the internet connection. | 5 | FALSE | FALSE | 2026-06-06 19:08 |  |  | US/Eastern | GTW | 0
129724259 | Whitetail | GameChange Tracker Control | Device communication | This error may be the result of one of the following: 1. Wiring problem between the device and the gateway. | 5 | FALSE | FALSE | 2025-08-29 14:58 |  |  | US/Eastern | TKR | 0 | 0
153997290 | Whitetail |  | Rule Tool Alert | Errors: , Performance (1) Communication: 2 test suites failed out of 5 (30 new messages) | 5 | FALSE | FALSE | 2026-06-08 09:16 |  |  | US/Eastern | UNK | 0
154091064 | Whitetail | GameChange Tracker Control 2.1 | Gamechange Tracker Alert | Individual Tracker Alarm60: Tracking Disabled Individual Tracker Alarm60: E-Stop is pressed | 5 | FALSE | FALSE | 2026-06-09 02:56 |  |  | US/Eastern | TKR | 0 | 0
153995332 | Bulloch 1B |  | Rule Tool Alert | Errors: , Data (4) Communication: 1 test suite failed out of 5 (1 new message) | 5 | FALSE | FALSE | 2026-06-08 08:44 |  |  | US/Eastern | UNK | 0
153958185 | Bulloch 1A |  | Rule Tool Alert | Errors: , Data (1) Communication: All tests passed | 5 | FALSE | FALSE | 2026-06-07 20:45 |  |  | US/Eastern | UNK | 0
154084380 | Richmond |  | Rule Tool Alert | Errors: , Performance (2) Communication: 1 test suite failed out of 5 (2 new messages) | 5 | FALSE | FALSE | 2026-06-09 00:59 |  |  | US/Eastern | UNK | 0
153992949 | Upson |  | Rule Tool Alert | Errors: , Performance (1) Communication: All tests passed | 5 | FALSE | FALSE | 2026-06-08 07:21 |  |  | US/Eastern | UNK | 0
122811716 | McLean | PYRANOMETER - BPOA (PY2) | Device communication | This error may be the result of one of the following: 1. Wiring problem between the device and the gateway. | 5 | FALSE | FALSE | 2025-06-17 01:08 |  |  | US/Eastern | MET | 0
149950610 | McLean | TRACKER CONTROL (ST0) | Solar FlexRack Tracker Alert (revG) | Slave Alarms S 63: State Of Charge is under the critical threshold Slave Alarms S 81: State Of Charge is under the critical threshold | 5 | FALSE | FALSE | 2026-04-30 20:40 |  |  | US/Eastern | TKR | 0 | 0
154023539 | McLean |  | Rule Tool Alert | Errors: , Performance (8) Communication: 2 test suites failed out of 5 (2 new messages) | 5 | FALSE | FALSE | 2026-06-08 14:33 |  |  | US/Eastern | UNK | 0
153894529 | Shorthorn | TRACKER CONTROL (ST2) | Solar FlexRack Tracker Alert (revG) | Slave Alarms S 25: State Of Charge is under the critical threshold | 5 | FALSE | FALSE | 2026-06-07 09:57 |  |  | US/Eastern | TKR | 0 | 0
154076353 | Shorthorn |  | Rule Tool Alert | Errors: , Performance (1) Communication: 2 test suites failed out of 5 (4 new messages) | 5 | FALSE | FALSE | 2026-06-08 23:15 |  |  | US/Eastern | UNK | 0
148883751 | Harding Solar | TRACKER CONTROL | Solar FlexRack/OMCO Tracker Alert (revM) | TCU Status87: Blocked condition detected at axis | 5 | FALSE | FALSE | 2026-04-20 17:54 |  |  | US/Eastern | TKR | 0 | 0
152912286 | Harding Solar |  | Rule Tool Alert | Errors: , Performance (4) Communication: 1 test suite failed out of 5 (2 new messages) | 5 | FALSE | FALSE | 2026-05-29 06:09 |  |  | US/Eastern | UNK | 0
152576249 | Whitehall Solar |  | Rule Tool Alert | Errors: , Data (2) Communication: 1 test suite failed out of 5 (5 new messages) | 5 | FALSE | FALSE | 2026-05-26 06:03 |  |  | US/Eastern | UNK | 0
151659822 | Sunflower Solar | DIGITAL I/O - XFMR ALARMS (IO2) | Transformer Monitor | 90 degree liquid temp fault - Temperature greater than 90 C. | 5 | FALSE | FALSE | 2026-05-17 11:37 |  |  | US/Eastern | DA | 0 | 0
154042811 | Sunflower Solar |  | Rule Tool Alert | Errors: , Performance (82) Communication: All tests passed | 5 | FALSE | FALSE | 2026-06-08 17:32 |  |  | US/Eastern | UNK | 0
153233491 | Gray Fox Solar |  | Rule Tool Alert | Errors: , Performance (2) Communication: 3 test suites failed out of 5 (4 new messages) | 5 | FALSE | FALSE | 2026-06-01 05:59 |  |  | US/Eastern | UNK | 0
147485499 | C & B Graham Energy | INVERTER 35 | Device communication | This error may be the result of one of the following: 1. Wiring problem between the device and the gateway. | 5 | FALSE | FALSE | 2026-04-06 15:54 |  |  | US/Eastern | INV | 100 | 200
147879019 | C & B Graham Energy | INVERTER 23 | Device communication | This error may be the result of one of the following: 1. Wiring problem between the device and the gateway. | 5 | FALSE | FALSE | 2026-04-10 14:14 |  |  | US/Eastern | INV | 100 | 200
149065528 | C & B Graham Energy | INVERTER 17 | Solectria XGI 1000 Series - Fault Alert | Inverter Faults Detected | 5 | FALSE | FALSE | 2026-04-22 11:59 |  |  | US/Eastern | INV | 100 | 200
149065530 | C & B Graham Energy | INVERTER 17 | Solectria XGI 1500 Series - Fault Alert | Shutdown Command - AC Switch | 5 | FALSE | FALSE | 2026-04-22 11:59 |  |  | US/Eastern | INV | 100 | 200
149099588 | C & B Graham Energy | INVERTER 17 | Device communication | This error may be the result of one of the following: 1. Wiring problem between the device and the gateway. | 5 | FALSE | FALSE | 2026-04-22 17:43 |  |  | US/Eastern | INV | 100 | 200
149614237 | C & B Graham Energy | PYRANOMETER - BPOA | Weather Station Alert | Low mid-day irradiance (Sun): 22 W/m² | 5 | FALSE | FALSE | 2026-04-27 16:07 |  |  | US/Eastern | MET | 0 | 0
151282215 | C & B Graham Energy | METER - PRODUCTION 1 | Device communication | This error may be the result of one of the following: 1. Wiring problem between the device and the gateway. | 5 | FALSE | FALSE | 2026-05-13 17:14 |  |  | US/Eastern | MTR | 0 | 2400
151282247 | C & B Graham Energy | PYRANOMETER - POA | Device communication | This error may be the result of one of the following: 1. Wiring problem between the device and the gateway. | 5 | FALSE | FALSE | 2026-05-13 17:14 |  |  | US/Eastern | MET | 0 | 0
151282249 | C & B Graham Energy | WEATHER STATION | Device communication | This error may be the result of one of the following: 1. Wiring problem between the device and the gateway. | 5 | FALSE | FALSE | 2026-05-13 17:14 |  |  | US/Eastern | MET | 0 | 0
151282246 | C & B Graham Energy | PYRANOMETER - BPOA | Device communication | This error may be the result of one of the following: 1. Wiring problem between the device and the gateway. | 5 | FALSE | FALSE | 2026-05-13 17:14 |  |  | US/Eastern | MET | 0 | 0
152101090 | C & B Graham Energy | INVERTER 13 | Device communication | This error may be the result of one of the following: 1. Wiring problem between the device and the gateway. | 5 | FALSE | FALSE | 2026-05-21 14:59 |  |  | US/Eastern | INV | 100 | 200
152922009 | C & B Graham Energy | TRACKER CONTROL 2 | Solar FlexRack Tracker Alert | Slave Alarms S 10: SW version is a test build for accelerated time test Slave Alarms S 16: SW version is a test build for accelerated time test | 5 | FALSE | FALSE | 2026-05-29 10:37 |  |  | US/Eastern | TKR | 0 | 0
153264757 | C & B Graham Energy | INVERTER 34 | Device communication | This error may be the result of one of the following: 1. Wiring problem between the device and the gateway. | 5 | FALSE | FALSE | 2026-06-01 14:04 |  |  | US/Eastern | INV | 100 | 200
153299213 | C & B Graham Energy | TRACKER CONTROL 1 | Solar FlexRack Tracker Alert | Slave Alarms S 29: System Monitor has detected an out of range or fault condition (check system monitor status) | 5 | FALSE | FALSE | 2026-06-01 18:39 |  |  | US/Eastern | TKR | 0 | 0
153377955 | C & B Graham Energy | INVERTER 9 | Solectria XGI 1000 Series - Fault Alert | Inverter Faults Detected | 5 | FALSE | FALSE | 2026-06-02 13:56 |  |  | US/Eastern | INV | 100 | 200
153377958 | C & B Graham Energy | INVERTER 9 | Solectria XGI 1500 Series - Fault Alert | Low voltage 1 (LV1) Phase lock loop failure | 5 | FALSE | FALSE | 2026-06-02 13:56 |  |  | US/Eastern | INV | 100 | 200
153394429 | C & B Graham Energy | INVERTER 7 | Solectria XGI 1000 Series - Fault Alert | Inverter Faults Detected | 5 | FALSE | FALSE | 2026-06-02 16:14 |  |  | US/Eastern | INV | 100 | 200
153394435 | C & B Graham Energy | INVERTER 7 | Solectria XGI 1500 Series - Fault Alert | Shutdown Command - AC Switch | 5 | FALSE | FALSE | 2026-06-02 16:14 |  |  | US/Eastern | INV | 100 | 200
153411462 | C & B Graham Energy | INVERTER 9 | Device communication | This error may be the result of one of the following: 1. Wiring problem between the device and the gateway. | 5 | FALSE | FALSE | 2026-06-02 18:30 |  |  | US/Eastern | INV | 100 | 200
153415564 | C & B Graham Energy | PYRANOMETER - GHI | Device communication | This error may be the result of one of the following: 1. Wiring problem between the device and the gateway. | 5 | FALSE | FALSE | 2026-06-02 19:06 |  |  | US/Eastern | MET | 0 | 0
153721050 | C & B Graham Energy | INVERTER 7 | Device communication | This error may be the result of one of the following: 1. Wiring problem between the device and the gateway. | 5 | FALSE | FALSE | 2026-06-05 16:33 |  |  | US/Eastern | INV | 100 | 200
154005550 | C & B Graham Energy | INVERTER 8 | Device communication | This error may be the result of one of the following: 1. Wiring problem between the device and the gateway. | 5 | FALSE | FALSE | 2026-06-08 11:21 |  |  | US/Eastern | INV | 100 | 200
154005584 | C & B Graham Energy | INVERTER 10 | Device communication | This error may be the result of one of the following: 1. Wiring problem between the device and the gateway. | 5 | FALSE | FALSE | 2026-06-08 11:21 |  |  | US/Eastern | INV | 100 | 200
154044581 | C & B Graham Energy |  | Rule Tool Alert | Errors: , Performance (41) Communication: 3 test suites failed out of 5 (21 new messages) | 5 | FALSE | FALSE | 2026-06-08 17:48 |  |  | US/Eastern | UNK | 0
154064829 | C & B Graham Energy | INVERTER 4 | Solectria XGI 1000 Series - Fault Alert | Inverter Faults Detected | 5 | FALSE | FALSE | 2026-06-08 21:02 |  |  | US/Eastern | INV | 100 | 200
154050032 | Auburn Solar |  | Rule Tool Alert | Errors: Data (1) Communication: All tests passed | 5 | FALSE | FALSE | 2026-06-08 18:36 |  |  | US/Pacific | UNK | 0
154058152 | Sheridan Solar |  | Rule Tool Alert | Errors: Data (1) Communication: All tests passed | 5 | FALSE | FALSE | 2026-06-08 19:57 |  |  | US/Pacific | UNK | 0
152696381 | Elk Solar | Inverter - 01.02 | Device heartbeat | This error may be the result of one of the following: 1. Wiring problem between the gateway and the internet connection. | 5 | FALSE | FALSE | 2026-05-27 07:29 |  |  | US/Eastern | INV | 0 | 125
153995394 | Elk Solar |  | Rule Tool Alert | Errors: , Performance (13) Communication: 3 test suites failed out of 5 (33 new messages) | 5 | FALSE | FALSE | 2026-06-08 08:46 |  |  | US/Eastern | UNK | 0
151901055 | Longleaf Pine Solar, LLC | Tracker Controller 2 | Solar FlexRack/OMCO Tracker Alert (revM) | TCU Status33: Motor overcurrent detected by software detector | 5 | FALSE | FALSE | 2026-05-19 16:20 |  |  | US/Eastern | TKR | 0 | 0
151901060 | Longleaf Pine Solar, LLC | Tracker Controller 2 | Solar FlexRack Tracker Alert (revM)v2 | TCU Status33: Motor overcurrent detected by software detector | 5 | FALSE | FALSE | 2026-05-19 16:20 |  |  | US/Eastern | TKR | 0 | 0
153456887 | Longleaf Pine Solar, LLC | DIGITAL I/O - XFMR ALARMS | Transformer Monitor | Vacuum fault - Pressure less than -5 psi | 5 | FALSE | FALSE | 2026-06-03 03:34 |  |  | US/Eastern | DA | 0
153476080 | Longleaf Pine Solar, LLC | Tracker Controller 1 | Device communication | This error may be the result of one of the following: 1. Wiring problem between the device and the gateway. | 5 | FALSE | FALSE | 2026-06-03 11:26 |  |  | US/Eastern | TKR | 0 | 0
154054006 | Williams Solar, LLC | INVERTER A20 | Sungrow Inverter Fault Alert | Grid overvoltage | 5 | FALSE | FALSE | 2026-06-08 19:10 |  |  | US/Eastern | INV | 0 | 125
154057059 | Williams Solar, LLC | INVERTER A20 | Device communication | This error may be the result of one of the following: 1. Wiring problem between the device and the gateway. | 5 | FALSE | FALSE | 2026-06-08 19:39 |  |  | US/Eastern | INV | 0 | 125