## Overview
Table | Description | Source / Notes
ae_portfolios | Top-level portfolio / customer accounts | Manually populated or from tree endpoint
ae_sites | Individual solar sites within a portfolio | Site list / tree endpoint
ae_hardware | Devices / equipment at each site | Hardware list endpoint per site
ae_alerts | Operational alert history — one row per alert instance | /api/view/alerthistory POST
ae_production_daily | Daily energy production per site — TimescaleDB hypertable on ts | /api/view/production or /api/view/energy POST (to be confirmed)
ae_production_hourly | Hourly energy production per device — TimescaleDB hypertable | /api/view/production or /api/view/energydata POST with interval=hour
ae_work_orders | Service requests / work orders linked to alerts | /api/view/workorders or /api/view/servicerequests (to be confirmed)
ae_notes | Notes / comments attached to alerts | /api/view/notes (to be confirmed)

## Column Definitions
Table | Column | Data Type | Description
ae_portfolios | portfolio_key | TEXT PK | AlsoEnergy portfolio ID, e.g. C12941
ae_portfolios | portfolio_name | TEXT | Display name of the portfolio
ae_portfolios | created_at | TIMESTAMP | Row insert timestamp
ae_sites | site_key | TEXT PK | AlsoEnergy site ID, e.g. S40834
ae_sites | portfolio_key | TEXT FK | Parent portfolio
ae_sites | site_name | TEXT | Human-readable site name, e.g. Green Elementary
ae_sites | capacity_kw | FLOAT | DC nameplate capacity in kW
ae_sites | timezone | TEXT | IANA tz string, e.g. US/Eastern
ae_sites | latitude | FLOAT | Site latitude
ae_sites | longitude | FLOAT | Site longitude
ae_sites | install_date | DATE | Commission / install date
ae_sites | state | TEXT | US state abbreviation
ae_sites | created_at | TIMESTAMP | Row insert timestamp
ae_sites | updated_at | TIMESTAMP | Last refresh from API
ae_hardware | hardware_key | TEXT PK | AlsoEnergy device ID, e.g. H119159
ae_hardware | site_key | TEXT FK | Parent site
ae_hardware | hardware_name | TEXT | Device name, e.g. Elkor MKII Production Meter
ae_hardware | asset_code | TEXT | Device class: INV / MTR / MET / UNK etc.
ae_hardware | capacity_kw | FLOAT | Device rated capacity in kW (NULL for meters/sensors)
ae_hardware | model | TEXT | Model / type string from API
ae_hardware | icon_url | TEXT | Thumbnail URL from AlsoEnergy
ae_hardware | created_at | TIMESTAMP | Row insert timestamp
ae_alerts | id | BIGSERIAL PK | Internal surrogate key
ae_alerts | alert_id | TEXT UNIQUE | AlsoEnergy alertId string, e.g. 154085477
ae_alerts | alert_key | TEXT | Short record key, e.g. x752f286e
ae_alerts | site_key | TEXT FK | Site where alert fired
ae_alerts | site_name | TEXT | Denormalized site name for fast queries
ae_alerts | hardware_key | TEXT FK | Device that triggered alert (NULL for site-level)
ae_alerts | hardware_name | TEXT | Denormalized device name
ae_alerts | asset_code | TEXT | INV / MTR / MET / UNK etc.
ae_alerts | category | INT | AE category integer (2=Comm, 3=Meter, 4=Rule, 5=Perf)
ae_alerts | event_type_code | INT | Numeric prefix of eventCode, e.g. 551
ae_alerts | event_type_name | TEXT | Text portion of eventCode, e.g. Power Meter Check 2.0
ae_alerts | name | TEXT | Full alert name / title
ae_alerts | description | TEXT | Detail message from alert engine
ae_alerts | severity | INT | 0 = resolved/low, 5 = active/high
ae_alerts | impact | FLOAT | Estimated production impact (kW)
ae_alerts | impact_code | INT | AE impact code integer
ae_alerts | capacity | INT | Device capacity kW at time of alert
ae_alerts | is_acknowledged | BOOLEAN | Has alert been acknowledged
ae_alerts | is_resolved | BOOLEAN | Has alert been resolved
ae_alerts | acknowledged_by | TEXT | Name of acknowledging user
ae_alerts | resolved_by | TEXT | Name of resolving user or 'Unable to verify name'
ae_alerts | alert_start | TIMESTAMP | UTC time alert condition began
ae_alerts | alert_end | TIMESTAMP | UTC time alert condition ended (NULL = still open)
ae_alerts | resolved_time | TIMESTAMP | UTC time alert marked resolved
ae_alerts | trigger_time | TIMESTAMP | UTC time alert was triggered in system
ae_alerts | last_changed | TIMESTAMP | UTC time any field on this alert last changed
ae_alerts | timezone | TEXT | Local IANA timezone of the site
ae_production_daily | ts | TIMESTAMP PK | Start of the UTC day (hypertable partition key)
ae_production_daily | site_key | TEXT PK | Site
ae_production_daily | energy_kwh | FLOAT | kWh generated during the day
ae_production_daily | peak_kw | FLOAT | Peak instantaneous power in kW
ae_production_daily | irradiance_avg | FLOAT | Average POA irradiance W/m² (if weather station)
ae_production_daily | temp_avg_c | FLOAT | Average module temperature °C
ae_production_daily | performance_index | FLOAT | Performance index 0–1
ae_production_daily | expected_kwh | FLOAT | Expected production from model
ae_production_daily | loss_kwh | FLOAT | Estimated production loss
ae_production_daily | created_at | TIMESTAMP | Row insert timestamp
ae_production_hourly | ts | TIMESTAMP PK | Start of UTC hour
ae_production_hourly | site_key | TEXT PK | Site
ae_production_hourly | hardware_key | TEXT PK | Device (inverter or meter)
ae_production_hourly | energy_kwh | FLOAT | kWh during the hour
ae_production_hourly | power_kw_avg | FLOAT | Average kW during the hour
ae_production_hourly | power_kw_max | FLOAT | Max instantaneous kW
ae_production_hourly | created_at | TIMESTAMP | Row insert timestamp
ae_work_orders | work_order_key | TEXT PK | AlsoEnergy work order key
ae_work_orders | work_order_id | TEXT | Numeric ID string
ae_work_orders | alert_id | TEXT FK | Related alert
ae_work_orders | site_key | TEXT FK | Site
ae_work_orders | title | TEXT | Work order title / description
ae_work_orders | status | TEXT | Open / In Progress / Closed
ae_work_orders | assigned_to | TEXT | Assignee name
ae_work_orders | created_at | TIMESTAMP | Work order creation time
ae_work_orders | closed_at | TIMESTAMP | Work order close time
ae_notes | note_key | TEXT PK | AlsoEnergy note key
ae_notes | alert_id | TEXT FK | Related alert
ae_notes | site_key | TEXT FK | Site
ae_notes | author | TEXT | Note author
ae_notes | body | TEXT | Note text
ae_notes | created_at | TIMESTAMP | Note timestamp

## DDL
Postgres / TimescaleDB DDL (copy-paste into psql)
-- Top-level portfolio / customer accounts
CREATE TABLE IF NOT EXISTS ae_portfolios (
portfolio_key TEXT PRIMARY KEY, portfolio_name TEXT, created_at TIMESTAMP
);
-- Individual solar sites within a portfolio
CREATE TABLE IF NOT EXISTS ae_sites (
site_key TEXT PRIMARY KEY, portfolio_key TEXT, site_name TEXT, capacity_kw FLOAT, timezone TEXT, latitude FLOAT, longitude FLOAT, install_date DATE, state TEXT, created_at TIMESTAMP, updated_at TIMESTAMP
);
-- Devices / equipment at each site
CREATE TABLE IF NOT EXISTS ae_hardware (
hardware_key TEXT PRIMARY KEY, site_key TEXT, hardware_name TEXT, asset_code TEXT, capacity_kw FLOAT, model TEXT, icon_url TEXT, created_at TIMESTAMP
);
-- Operational alert history — one row per alert instance
CREATE TABLE IF NOT EXISTS ae_alerts (
id BIGSERIAL PRIMARY KEY, alert_id TEXT UNIQUE, alert_key TEXT, site_key TEXT, site_name TEXT, hardware_key TEXT, hardware_name TEXT, asset_code TEXT, category INT, event_type_code INT, event_type_name TEXT, name TEXT, description TEXT, severity INT, impact FLOAT, impact_code INT, capacity INT, is_acknowledged BOOLEAN, is_resolved BOOLEAN, acknowledged_by TEXT, resolved_by TEXT, alert_start TIMESTAMP, alert_end TIMESTAMP, resolved_time TIMESTAMP, trigger_time TIMESTAMP, last_changed TIMESTAMP, timezone TEXT
);
-- Daily energy production per site — TimescaleDB hypertable on ts
CREATE TABLE IF NOT EXISTS ae_production_daily (
ts TIMESTAMP PRIMARY KEY, site_key TEXT PRIMARY KEY, energy_kwh FLOAT, peak_kw FLOAT, irradiance_avg FLOAT, temp_avg_c FLOAT, performance_index FLOAT, expected_kwh FLOAT, loss_kwh FLOAT, created_at TIMESTAMP
);
-- SELECT create_hypertable('ae_production_daily', 'ts');
-- Hourly energy production per device — TimescaleDB hypertable
CREATE TABLE IF NOT EXISTS ae_production_hourly (
ts TIMESTAMP PRIMARY KEY, site_key TEXT PRIMARY KEY, hardware_key TEXT PRIMARY KEY, energy_kwh FLOAT, power_kw_avg FLOAT, power_kw_max FLOAT, created_at TIMESTAMP
);
-- SELECT create_hypertable('ae_production_hourly', 'ts');
-- Service requests / work orders linked to alerts
CREATE TABLE IF NOT EXISTS ae_work_orders (
work_order_key TEXT PRIMARY KEY, work_order_id TEXT, alert_id TEXT, site_key TEXT, title TEXT, status TEXT, assigned_to TEXT, created_at TIMESTAMP, closed_at TIMESTAMP
);
-- Notes / comments attached to alerts
CREATE TABLE IF NOT EXISTS ae_notes (
note_key TEXT PRIMARY KEY, alert_id TEXT, site_key TEXT, author TEXT, body TEXT, created_at TIMESTAMP
);

## Reference Codes
Category (ae_alerts.category)
Code | Name | Meaning
2 | Communication | Device not reporting
3 | Meter | Meter / power quality issue
4 | Rule Tool | Automated rule-based alert
5 | Performance | Performance index below threshold
Asset Code (ae_alerts.asset_code / ae_hardware.asset_code)
Code | Device Type
INV | Inverter
MTR | Meter (production)
MET | Weather station / met station
UNK | Unknown / site-level

## Sample Alerts
key | lastChanged | alertTriggerId | alertId | delta | assetCode | category | impactCode | priorityCode | description | eventCode | siteKey | siteName | hardwareKey | hardwareName | hardwareIcon | subtitle | level | canEdit | canManage | canControl | end | impact | capacity | isAcknowledged | isResolved | lastAcknowledgedBy | lastResolvedBy | lastNoteKey | lastServiceRequestKey | lastServiceRequestId | lastWorkOrderKey | lastWorkOrderId | name | severity | start | tz | lossKwh | lossMoney | lossMoneyUnit | lossKwhPerDay | lossMoneyPerDay | resolvedTime | acknowledgedByName | resolvedByName | acknowledgedAt | triggerTime
x7388668c | 2025-07-26T08:59:10Z | 1703002 | 126379653 | 0 | UNK | 4 | 0 | 0 | Errors: , Performance (1) Communication: All tests passed | 614 - Rule Tool Alert | S40834 | Green Elementary |  |  |  |  | 0 | True | True | False |  | 0.0 |  | False | False |  |  |  |  | 0 |  | 0 | Rule Tool results for Green Elementary (Communication, Configuration, Data, Performance) | 5 | 2025-07-26T08:59:08Z | US/Eastern | NaN | NaN | 0 | NaN | NaN |  |  |  |  | 2025-07-26T08:59:09Z
x752bcecd | 2026-06-08T22:49:22Z | 1099606 | 153865924 | 0 | MTR | 3 | 3 | 0 | Current mismatch A = 57.1 Amps, B = 57.8 Amps, C = 47.9 Amps | 551 - Power Meter Check 2.0 | S40834 | Green Elementary | H119159 | Elkor MKII Production Meter | https://www.alsoenergy.com/pub/Images/Device/809.png |  | 0 | True | True | False | 2026-06-08T22:48:40Z | 0.0 | 308 | False | True |  |  |  |  | 0 |  | 0 | Meter error detected at Green Elementary: Elkor MKII Production Meter | 0 | 2026-06-08T22:25:20Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-08T22:48:40Z |  | Unable to verify name |  | 2026-06-08T22:42:37Z
x752f013f | 2026-06-08T23:56:04Z | 1099606 | 154075446 | 0 | MTR | 3 | 3 | 0 | Current mismatch A = 31.6 Amps, B = 31.7 Amps, C = 27.1 Amps | 551 - Power Meter Check 2.0 | S40834 | Green Elementary | H119159 | Elkor MKII Production Meter | https://www.alsoenergy.com/pub/Images/Device/809.png |  | 0 | True | True | False | 2026-06-08T23:55:21Z | 0.0 | 308 | False | True |  |  |  |  | 0 |  | 0 | Meter error detected at Green Elementary: Elkor MKII Production Meter | 0 | 2026-06-08T23:32:01Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-08T23:55:21Z |  | Unable to verify name |  | 2026-06-08T23:49:19Z
x752f286e | 2026-06-09T02:09:15Z | 1099606 | 154085477 | 0 | MTR | 3 | 3 | 0 | Power phase error A = -0.0 kW, B = 0.0 kW, C = 0.0 kW | 551 - Power Meter Check 2.0 | S40834 | Green Elementary | H119159 | Elkor MKII Production Meter | https://www.alsoenergy.com/pub/Images/Device/809.png |  | 0 | True | True | False | 2026-06-09T02:09:01Z | 0.0 | 308 | False | True |  |  |  |  | 0 |  | 0 | Meter error detected at Green Elementary: Elkor MKII Production Meter | 0 | 2026-06-09T01:12:21Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-09T02:09:01Z |  | Unable to verify name |  | 2026-06-09T01:29:19Z
x738a66d4 | 2025-07-27T15:48:39Z | 1703001 | 126510797 | 0 | UNK | 4 | 0 | 0 | Errors: , Performance (4) Communication: 3 test suites failed out of 5 (4 new messages) | 614 - Rule Tool Alert | S40835 | Gallia Academy |  |  |  |  | 0 | True | True | False |  | 0.0 |  | False | False |  |  |  |  | 0 |  | 0 | Rule Tool results for Gallia Academy (Communication, Configuration, Data, Performance) | 5 | 2025-07-27T15:48:36Z | US/Eastern | NaN | NaN | 0 | NaN | NaN |  |  |  |  | 2025-07-27T15:48:37Z
x74ca5b22 | 2026-04-06T15:20:05Z | 279123 | 147479322 | 0 | INV | 2 | 1 | 0 | This error may be the result of one of the following: 1. Wiring problem between the device and the gateway. | 250 - Device communication | S40835 | Gallia Academy | H119285 | Solectria 36kW Inverter - 1 | https://www.alsoenergy.com/pub/Images/Device/748.png |  | 0 | True | True | False |  | 0.0 | 36 | False | False |  |  |  |  | 0 |  | 0 | Solectria 36kW Inverter - 1 at Gallia Academy is not responding | 5 | 2026-04-06T15:01:11Z | US/Eastern | NaN | NaN | 0 | NaN | NaN |  |  |  |  | 2026-04-06T15:20:05Z
x752deaa4 | 2026-06-09T00:31:02Z | 1099608 | 154004123 | 0 | MTR | 3 | 3 | 0 | Current mismatch A = 85.1 Amps, B = 104.8 Amps, C = 98.5 Amps | 551 - Power Meter Check 2.0 | S40835 | Gallia Academy | H119267 | Elkor Production Meter (Main) | https://www.alsoenergy.com/pub/Images/Device/809.png |  | 0 | True | True | False | 2026-06-09T00:29:35Z | 0.0 | 360 | False | True |  |  |  |  | 0 |  | 0 | Meter error detected at Gallia Academy: Elkor Production Meter (Main) | 0 | 2026-06-08T22:19:56Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-09T00:29:35Z |  | Unable to verify name |  | 2026-06-08T22:43:29Z
x752dda4d | 2026-06-09T00:19:50Z | 1099605 | 153999940 | 0 | MTR | 3 | 3 | 0 | Current mismatch A = 35.2 Amps, B = 42.9 Amps, C = 38.8 Amps | 551 - Power Meter Check 2.0 | S40835 | Gallia Academy | H119268 | Elkor Production Meter (Remote) | https://www.alsoenergy.com/pub/Images/Device/809.png |  | 0 | True | True | False | 2026-06-09T00:18:28Z | 0.0 | 360 | False | True |  |  |  |  | 0 |  | 0 | Meter error detected at Gallia Academy: Elkor Production Meter (Remote) | 0 | 2026-06-08T23:11:45Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-09T00:18:28Z |  | Unable to verify name |  | 2026-06-08T23:31:45Z
x752d7d55 | 2026-06-08T11:04:03Z | 1099608 | 153976140 | 0 | MTR | 3 | 3 | 0 | Current mismatch A = 13.8 Amps, B = 16.6 Amps, C = 15.9 Amps | 551 - Power Meter Check 2.0 | S40835 | Gallia Academy | H119267 | Elkor Production Meter (Main) | https://www.alsoenergy.com/pub/Images/Device/809.png |  | 0 | True | True | False | 2026-06-08T11:02:17Z | 0.0 | 360 | False | True |  |  |  |  | 0 |  | 0 | Meter error detected at Gallia Academy: Elkor Production Meter (Main) | 0 | 2026-06-08T10:25:22Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-08T11:02:17Z |  | Unable to verify name |  | 2026-06-08T10:45:09Z
x73897c95 | 2025-07-26T22:05:09Z | 1703003 | 126450830 | 0 | UNK | 4 | 0 | 0 | Errors: , Performance (1) Communication: All tests passed | 614 - Rule Tool Alert | S40836 | Rio Grande Elementary |  |  |  |  | 0 | True | True | False |  | 0.0 |  | False | False |  |  |  |  | 0 |  | 0 | Rule Tool results for Rio Grande Elementary (Communication, Configuration, Data, Performance) | 5 | 2025-07-26T22:05:07Z | US/Eastern | NaN | NaN | 0 | NaN | NaN |  |  |  |  | 2025-07-26T22:05:08Z
x752f269c | 2026-06-09T01:22:39Z | 1099611 | 154085011 | 0 | MTR | 3 | 3 | 0 | Power phase error A = -0.1 kW, B = 0.1 kW, C = -0.1 kW | 551 - Power Meter Check 2.0 | S40836 | Rio Grande Elementary | H119247 | Elkor Production Meter | https://www.alsoenergy.com/pub/Images/Device/809.png |  | 0 | True | True | False |  | 0.0 | 364 | False | False |  |  |  |  | 0 |  | 0 | Meter error detected at Rio Grande Elementary: Elkor Production Meter | 5 | 2026-06-09T01:05:32Z | US/Eastern | NaN | NaN | 0 | NaN | NaN |  |  |  |  | 2026-06-09T01:22:39Z
x752d8d83 | 2026-06-08T09:42:32Z | 1099611 | 153980282 | 0 | MTR | 3 | 3 | 0 | Power phase error A = -0.1 kW, B = 0.0 kW, C = -0.1 kW | 551 - Power Meter Check 2.0 | S40836 | Rio Grande Elementary | H119247 | Elkor Production Meter | https://www.alsoenergy.com/pub/Images/Device/809.png |  | 0 | True | True | False | 2026-06-08T09:42:14Z | 0.0 | 364 | False | True |  |  |  |  | 0 |  | 0 | Meter error detected at Rio Grande Elementary: Elkor Production Meter | 0 | 2026-06-08T01:05:29Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-08T09:42:14Z |  | Unable to verify name |  | 2026-06-08T01:22:34Z
x751dabf9 | 2026-06-08T16:59:19Z | 279079 | 152939504 | 0 | MET | 3 | 0 | 0 | Mid day module temperature low module 1: 28.6 °C | 499 - Weather Station Alert | S40836 | Rio Grande Elementary | H119248 | Weather Station 1 (Standard) | https://www.alsoenergy.com/pub/Images/Device/506.png |  | 0 | True | True | False | 2026-06-08T16:59:19Z | 0.0 |  | False | True |  |  |  |  | 0 |  | 0 | Weather Station Alert at Rio Grande Elementary / Weather Station 1 (Standard) | 0 | 2026-06-08T15:55:10Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-08T16:59:19Z |  | Unable to verify name |  | 2026-06-08T16:26:09Z
x752dd6bb | 2026-06-09T00:52:44Z | 1099611 | 153999026 | 0 | MTR | 3 | 3 | 0 | Current mismatch A = 12.0 Amps, B = 12.7 Amps, C = 14.6 Amps | 551 - Power Meter Check 2.0 | S40836 | Rio Grande Elementary | H119247 | Elkor Production Meter | https://www.alsoenergy.com/pub/Images/Device/809.png |  | 0 | True | True | False | 2026-06-09T00:51:56Z | 0.0 | 364 | False | True |  |  |  |  | 0 |  | 0 | Meter error detected at Rio Grande Elementary: Elkor Production Meter | 0 | 2026-06-09T00:18:31Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-09T00:51:56Z |  | Unable to verify name |  | 2026-06-09T00:36:15Z
x74b74753 | 2026-03-24T13:05:39Z | 1721234 | 146229067 | 0 | UNK | 4 | 0 | 0 | [WARNING] Failed to get recent value but partial values do exist, so issuing the report: [154310 Hardware] HardwareInfo Elkor Production Meter Site 1 | 358 - Report run-time alert | S44485 | RRH 1 & 2 |  |  |  |  | 0 | True | True | False |  | 0.0 |  | False | False |  |  |  |  | 0 |  | 0 | Report run-time alert for: RRH 1 & 2 | 5 | 2026-03-24T13:05:43Z | US/Eastern | NaN | NaN | 0 | NaN | NaN |  |  |  |  | 2026-03-24T13:05:43Z
x752d85ad | 2026-06-09T00:42:10Z | 1703217 | 153978276 | 0 | MTR | 3 | 5 | 0 | Current mismatch A = 721.8 Amps, B = 595.6 Amps, C = 645.1 Amps | 551 - Power Meter Check 2.0 | S44485 | RRH 1 & 2 | H154311 | Elkor Production Meter Site 2 | https://www.alsoenergy.com/pub/Images/Device/809.png |  | 0 | True | True | False | 2026-06-09T00:41:00Z | 0.0 | 1980 | False | True |  |  |  |  | 0 |  | 0 | Meter error detected at RRH 1 & 2: Elkor Production Meter Site 2 | 0 | 2026-06-08T22:24:16Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-09T00:41:00Z |  | Unable to verify name |  | 2026-06-08T22:43:33Z
x752d85fd | 2026-06-09T00:25:48Z | 1703216 | 153978356 | 0 | MTR | 3 | 5 | 0 | Current mismatch A = 709.6 Amps, B = 596.6 Amps, C = 627.2 Amps | 551 - Power Meter Check 2.0 | S44485 | RRH 1 & 2 | H154310 | Elkor Production Meter Site 1 | https://www.alsoenergy.com/pub/Images/Device/809.png |  | 0 | True | True | False | 2026-06-09T00:25:20Z | 0.0 | 1980 | False | True |  |  |  |  | 0 |  | 0 | Meter error detected at RRH 1 & 2: Elkor Production Meter Site 1 | 0 | 2026-06-08T22:25:25Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-09T00:25:20Z |  | Unable to verify name |  | 2026-06-08T22:47:16Z
x752f23b3 | 2026-06-09T00:57:27Z | 1703006 | 154084266 | 0 | UNK | 4 | 0 | 0 | Errors: , Performance (6) Communication: All tests passed | 614 - Rule Tool Alert | S44566 | RIT |  |  |  |  | 0 | True | True | False |  | 0.0 |  | False | False |  |  |  |  | 0 |  | 0 | Rule Tool results for RIT (Communication, Configuration, Data, Performance) | 5 | 2026-06-09T00:57:23Z | US/Eastern | NaN | NaN | 0 | NaN | NaN |  |  |  |  | 2026-06-09T00:57:24Z
x752daad0 | 2026-06-09T00:57:24Z | 1703006 | 153987783 | 0 | UNK | 4 | 0 | 0 | Errors: , Performance (30) Communication: All tests passed | 614 - Rule Tool Alert | S44566 | RIT |  |  |  |  | 0 | True | True | False | 2026-06-09T00:57:24Z | 0.0 |  | False | True |  |  |  |  | 0 |  | 0 | Rule Tool results for RIT (Communication, Configuration, Data, Performance) | 0 | 2026-06-08T03:36:04Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-09T00:57:24Z |  | Unable to verify name |  | 2026-06-08T03:36:05Z
x752c45ee | 2026-06-07T10:48:41Z | 1065023 | 153896421 | 0 | INV | 3 | 2 | 0 | Insulation Resistance Low - IsolationErr | 438 - .Chint / Solectria / Canadian String Inv Faults | S44882 | Monroe Landfill | H155958 | Solectria PVI 60KTL Inverter - 20 | https://www.alsoenergy.com/pub/Images/Device/1596.png |  | 0 | True | True | False |  | 100.0 | 60 | False | False |  |  |  |  | 0 |  | 0 | Faults detected at Monroe Landfill: Solectria PVI 60KTL Inverter - 20 | 5 | 2026-06-07T10:30:29Z | US/Eastern | NaN | NaN | 0 | NaN | NaN |  |  |  |  | 2026-06-07T10:48:41Z
x752f1793 | 2026-06-09T00:22:10Z | 1703005 | 154081162 | 0 | UNK | 4 | 0 | 0 | Errors: , Performance (51) Communication: 2 test suites failed out of 5 (3 new messages) | 614 - Rule Tool Alert | S44882 | Monroe Landfill |  |  |  |  | 0 | True | True | False |  | 0.0 |  | False | False |  |  |  |  | 0 |  | 0 | Rule Tool results for Monroe Landfill (Communication, Configuration, Data, Performance) | 5 | 2026-06-09T00:22:09Z | US/Eastern | NaN | NaN | 0 | NaN | NaN |  |  |  |  | 2026-06-09T00:22:09Z
x752da418 | 2026-06-09T00:22:09Z | 1703005 | 153986063 | 0 | UNK | 4 | 0 | 0 | Errors: , Performance (38) Communication: 2 test suites failed out of 5 (5 new messages) | 614 - Rule Tool Alert | S44882 | Monroe Landfill |  |  |  |  | 0 | True | True | False | 2026-06-09T00:22:09Z | 0.0 |  | False | True |  |  |  |  | 0 |  | 0 | Rule Tool results for Monroe Landfill (Communication, Configuration, Data, Performance) | 0 | 2026-06-08T02:59:47Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-09T00:22:09Z |  | Unable to verify name |  | 2026-06-08T02:59:48Z
x752dd1a8 | 2026-06-08T23:57:26Z | 1099604 | 153997727 | 0 | MTR | 3 | 5 | 0 | Current mismatch A = 79.0 Amps, B = 72.0 Amps, C = 91.6 Amps | 551 - Power Meter Check 2.0 | S44882 | Monroe Landfill | H155936 | Elkor Production Meter | https://www.alsoenergy.com/pub/Images/Device/809.png |  | 0 | True | True | False | 2026-06-08T23:56:48Z | 0.0 | 1620 | False | True |  |  |  |  | 0 |  | 0 | Meter error detected at Monroe Landfill: Elkor Production Meter | 0 | 2026-06-08T23:24:37Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-08T23:56:48Z |  | Unable to verify name |  | 2026-06-08T23:43:07Z
x7515c19f | 2026-06-08T17:47:39Z | 1581073 | 152420758 | 0 | UNK | 5 | 0 | 0 | Performance Index below limit. Performance index: 0.519 | 401 - Performance Index Alert | S51957 | WCPS - William Perry Elementary School |  |  |  |  | 0 | True | True | False |  | 5.0 |  | False | False |  |  |  |  | 0 |  | 0 | Performance Index Alert at WCPS - William Perry Elementary School | 5 | 2026-05-24T18:13:25Z | US/Eastern | NaN | NaN | 0 | NaN | NaN |  |  |  |  | 2026-05-24T21:20:55Z
x752ed09b | 2026-06-08T20:46:04Z | 1181899 | 154062994 | 0 | UNK | 4 | 0 | 0 | Errors: , Performance (8) Communication: 1 test suite failed out of 5 (2 new messages) | 614 - Rule Tool Alert | S51957 | WCPS - William Perry Elementary School |  |  |  |  | 0 | True | True | False |  | 0.0 |  | False | False |  |  |  |  | 0 |  | 0 | Rule Tool results for WCPS - William Perry Elementary School (Communication, Configuration, Data, Performance) | 5 | 2026-06-08T20:46:02Z | US/Eastern | NaN | NaN | 0 | NaN | NaN |  |  |  |  | 2026-06-08T20:46:02Z
x751d046e | 2026-06-08T20:46:02Z | 1181899 | 152896613 | 0 | UNK | 4 | 0 | 0 | Errors: , Performance (8) Communication: 1 test suite failed out of 5 (2 new messages) | 614 - Rule Tool Alert | S51957 | WCPS - William Perry Elementary School |  |  |  |  | 0 | True | True | False | 2026-06-08T20:46:02Z | 0.0 |  | False | True |  |  |  |  | 0 |  | 0 | Rule Tool results for WCPS - William Perry Elementary School (Communication, Configuration, Data, Performance) | 0 | 2026-05-29T00:05:29Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-08T20:46:02Z |  | Unable to verify name |  | 2026-05-29T00:05:30Z
x752ed6cf | 2026-06-09T00:16:13Z | 1581070 | 154064582 | 0 | UNK | 5 | 0 | 0 | Performance Index below limit. Performance index: 0.792 | 401 - Performance Index Alert | S51960 | WCPS - Kate Collins Middle School |  |  |  |  | 0 | True | True | False |  | 5.0 |  | False | False |  |  |  |  | 0 |  | 0 | Performance Index Alert at WCPS - Kate Collins Middle School | 5 | 2026-06-08T21:03:07Z | US/Eastern | NaN | NaN | 0 | NaN | NaN |  |  |  |  | 2026-06-09T00:16:13Z
x75198d92 | 2026-06-08T17:00:16Z | 1703004 | 152669577 | 0 | UNK | 4 | 0 | 0 | Errors: Configuration (1) Communication: All tests passed | 614 - Rule Tool Alert | S54553 | Butler Maple |  |  |  |  | 0 | True | True | False |  | 0.0 |  | False | False |  |  |  |  | 0 |  | 0 | Rule Tool results for Butler Maple (Communication, Configuration, Data, Performance) | 5 | 2026-05-26T23:14:42Z | US/Pacific | NaN | NaN | 0 | NaN | NaN |  |  |  |  | 2026-05-26T23:14:43Z
x752a875a | 2026-06-06T05:06:57Z | 1703028 | 153782097 | 0 | UNK | 4 | 0 | 0 | Errors: Communication (63) Communication: 2 test suites failed out of 5 (63 new messages) | 614 - Rule Tool Alert | S54613 | Warbler |  |  |  |  | 0 | True | True | False |  | 0.0 |  | False | False |  |  |  |  | 0 |  | 0 | Rule Tool results for Warbler (Communication, Configuration, Data, Performance) | 5 | 2026-06-06T05:06:55Z | US/Eastern | NaN | NaN | 0 | NaN | NaN |  |  |  |  | 2026-06-06T05:06:55Z
x752c5bf8 | 2026-06-08T12:38:00Z | 1192957 | 153902063 | 0 | INV | 5 | 2 | 0 | Checking production against available sunlight for 'Sungrow SG125 Inverter A4 at 100%' and 'Hukseflux SR30 POA' (time difference: 0.0 seconds) Irradiance: 100.800 w/m^2 (Threshold = 90.1) | 362 - Inverter / irradiance check | S54613 | Warbler | H263560 | Sungrow SG125 Inverter A4 at 100% | https://www.alsoenergy.com/pub/Images/Device/8237.png |  | 0 | True | True | False | 2026-06-08T12:38:00Z | 100.0 | 125 | False | True |  |  |  |  | 0 |  | 0 | No production with available sunlight at Warbler / Sungrow SG125 Inverter A4 at 100% | 0 | 2026-06-08T11:32:00Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-08T12:38:00Z |  | Unable to verify name |  | 2026-06-08T11:59:52Z
x752c5c17 | 2026-06-08T12:40:32Z | 1192966 | 153902094 | 0 | INV | 5 | 2 | 0 | Checking production against available sunlight for 'Sungrow SG125 Inverter A13 at 100%' and 'Hukseflux SR30 POA' (time difference: 0.0 seconds) Irradiance: 100.800 w/m^2 (Threshold = 90.1) | 362 - Inverter / irradiance check | S54613 | Warbler | H263569 | Sungrow SG125 Inverter A13 at 100% | https://www.alsoenergy.com/pub/Images/Device/8237.png |  | 0 | True | True | False | 2026-06-08T12:40:32Z | 100.0 | 125 | False | True |  |  |  |  | 0 |  | 0 | No production with available sunlight at Warbler / Sungrow SG125 Inverter A13 at 100% | 0 | 2026-06-08T11:32:00Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-08T12:40:32Z |  | Unable to verify name |  | 2026-06-08T11:59:32Z
x752c5b8d | 2026-06-08T12:42:36Z | 1192958 | 153901956 | 0 | INV | 5 | 2 | 0 | Checking production against available sunlight for 'Sungrow SG125 Inverter A5 at 100%' and 'Hukseflux SR30 POA' (time difference: 0.0 seconds) Irradiance: 100.800 w/m^2 (Threshold = 90.1) | 362 - Inverter / irradiance check | S54613 | Warbler | H263561 | Sungrow SG125 Inverter A5 at 100% | https://www.alsoenergy.com/pub/Images/Device/8237.png |  | 0 | True | True | False | 2026-06-08T12:42:36Z | 100.0 | 125 | False | True |  |  |  |  | 0 |  | 0 | No production with available sunlight at Warbler / Sungrow SG125 Inverter A5 at 100% | 0 | 2026-06-08T11:32:00Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-08T12:42:36Z |  | Unable to verify name |  | 2026-06-08T12:00:25Z
x752c5cd4 | 2026-06-08T12:37:24Z | 1192982 | 153902283 | 0 | INV | 5 | 2 | 0 | Checking production against available sunlight for 'Sungrow SG125 Inverter B29 at 100%' and 'Hukseflux SR30 POA' (time difference: 60.0 seconds) Irradiance: 100.800 w/m^2 (Threshold = 90.1) | 362 - Inverter / irradiance check | S54613 | Warbler | H263585 | Sungrow SG125 Inverter B29 at 100% | https://www.alsoenergy.com/pub/Images/Device/8237.png |  | 0 | True | True | False | 2026-06-08T12:37:24Z | 100.0 | 125 | False | True |  |  |  |  | 0 |  | 0 | No production with available sunlight at Warbler / Sungrow SG125 Inverter B29 at 100% | 0 | 2026-06-08T11:34:00Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-08T12:37:24Z |  | Unable to verify name |  | 2026-06-08T12:02:33Z
x752c5cba | 2026-06-08T12:39:54Z | 1192968 | 153902257 | 0 | INV | 5 | 2 | 0 | Checking production against available sunlight for 'Sungrow SG125 Inverter A15 at 100%' and 'Hukseflux SR30 POA' (time difference: 60.0 seconds) Irradiance: 100.800 w/m^2 (Threshold = 90.1) | 362 - Inverter / irradiance check | S54613 | Warbler | H263571 | Sungrow SG125 Inverter A15 at 100% | https://www.alsoenergy.com/pub/Images/Device/8237.png |  | 0 | True | True | False | 2026-06-08T12:39:54Z | 100.0 | 125 | False | True |  |  |  |  | 0 |  | 0 | No production with available sunlight at Warbler / Sungrow SG125 Inverter A15 at 100% | 0 | 2026-06-08T11:34:00Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-08T12:39:54Z |  | Unable to verify name |  | 2026-06-08T12:01:48Z
x738b04d8 | 2025-07-27T22:25:52Z | 1703013 | 126551249 | 0 | UNK | 4 | 0 | 0 | Errors: , Configuration (1) Communication: 2 test suites failed out of 5 (7 new messages) | 614 - Rule Tool Alert | S54681 | Eagle |  |  |  |  | 0 | True | True | False |  | 0.0 |  | False | False |  |  |  |  | 0 |  | 0 | Rule Tool results for Eagle (Communication, Configuration, Data, Performance) | 5 | 2025-07-27T22:25:50Z | US/Eastern | NaN | NaN | 0 | NaN | NaN |  |  |  |  | 2025-07-27T22:25:51Z
x752af888 | 2026-06-06T14:16:50Z | 1190166 | 153811071 | 0 | INV | 3 | 2 | 0 | External Fan Err - ExtFanerr | 438 - .Chint / Solectria / Canadian String Inv Faults | S54681 | Eagle | H264351 | CPS SCH125kTL Inv - 8 | https://www.alsoenergy.com/pub/Images/Device/6843.png |  | 0 | True | True | False |  | 100.0 | 125 | False | False |  |  |  |  | 0 |  | 0 | Faults detected at Eagle: CPS SCH125kTL Inv - 8 | 5 | 2026-06-06T13:59:26Z | US/Eastern | NaN | NaN | 0 | NaN | NaN |  |  |  |  | 2026-06-06T14:16:50Z
x752b2b6b | 2026-06-06T16:19:59Z | 1190160 | 153824098 | 0 | INV | 3 | 2 | 0 | External Fan Err - ExtFanerr | 438 - .Chint / Solectria / Canadian String Inv Faults | S54681 | Eagle | H264348 | CPS SCH125kTL Inv - 5 | https://www.alsoenergy.com/pub/Images/Device/6843.png |  | 0 | True | True | False |  | 100.0 | 125 | False | False |  |  |  |  | 0 |  | 0 | Faults detected at Eagle: CPS SCH125kTL Inv - 5 | 5 | 2026-06-06T16:02:47Z | US/Eastern | NaN | NaN | 0 | NaN | NaN |  |  |  |  | 2026-06-06T16:19:58Z
x752be618 | 2026-06-07T00:12:43Z | 1190148 | 153871887 | 0 | DA | 1 | 1 | 0 | This error may be the result of one of the following: 1. Wiring problem between the gateway and the internet connection. | 344 - Device heartbeat | S54681 | Eagle | H264340 | Cell Modem Reporting (RV50) | https://www.alsoenergy.com/pub/Images/Device/1562.png |  | 0 | True | True | False |  | 0.0 | 0 | False | False |  |  |  |  | 0 |  | 0 | Cell Modem Reporting (RV50) at Eagle is not responding | 5 | 2026-06-06T19:05:46Z | US/Eastern | NaN | NaN | 0 | NaN | NaN |  |  |  |  | 2026-06-07T00:12:43Z
x752b8251 | 2026-06-06T19:46:31Z | 1609563 | 153846344 | 0 | GTW | 1 | 0 | 0 | This error may be the result of one of the following: 1. Wiring problem between the gateway and the internet connection. | 253 - Gateway heartbeat | S54681 | Eagle | H502645 | PowerLogger 1000 (SO95895) | https://www.alsoenergy.com/pub/Images/Device/325.png |  | 0 | True | True | False |  | 0.0 |  | False | False |  |  |  |  | 0 |  | 0 | PowerLogger 1000 (SO95895) at Eagle is not responding | 5 | 2026-06-06T19:08:05Z | US/Eastern | NaN | NaN | 0 | NaN | NaN |  |  |  |  | 2026-06-06T19:46:31Z
x73bb6f6a | 2025-08-29T15:16:51Z | 1654459 | 129724259 | 0 | TKR | 2 | 1 | 0 | This error may be the result of one of the following: 1. Wiring problem between the device and the gateway. | 250 - Device communication | S59656 | Whitetail | H312486 | GameChange Tracker Control | https://www.alsoenergy.com/pub/Images/Device/8265.png |  | 0 | True | True | False |  | 0.0 | 0 | False | False |  |  |  |  | 0 |  | 0 | GameChange Tracker Control at Whitetail is not responding | 5 | 2025-08-29T14:58:00Z | US/Eastern | NaN | NaN | 0 | NaN | NaN |  |  |  |  | 2025-08-29T15:16:51Z
x752dcff3 | 2026-06-08T09:15:57Z | 1703032 | 153997290 | 0 | UNK | 4 | 0 | 0 | Errors: , Performance (1) Communication: 2 test suites failed out of 5 (30 new messages) | 614 - Rule Tool Alert | S59656 | Whitetail |  |  |  |  | 0 | True | True | False |  | 0.0 |  | False | False |  |  |  |  | 0 |  | 0 | Rule Tool results for Whitetail (Communication, Configuration, Data, Performance) | 5 | 2026-06-08T09:15:54Z | US/Eastern | NaN | NaN | 0 | NaN | NaN |  |  |  |  | 2026-06-08T09:15:54Z
x752f3d29 | 2026-06-09T02:51:22Z | 1820243 | 154090784 | 0 | TKR | 3 | 1 | 0 | Individual Tracker Alarm60: Tracking Disabled Individual Tracker Alarm60: E-Stop is pressed | 863 - Gamechange Tracker Alert | S59656 | Whitetail | H590017 | GameChange Tracker Control 2.1 | https://www.alsoenergy.com/pub/Images/tracker.png |  | 0 | True | True | False |  | 0.0 | 0 | False | False |  |  |  |  | 0 |  | 0 | Faults detected at Whitetail: GameChange Tracker Control 2.1 | 5 | 2026-06-09T02:49:00Z | US/Eastern | NaN | NaN | 0 | NaN | NaN |  |  |  |  | 2026-06-09T02:51:22Z
x752e44ce | 2026-06-08T15:07:26Z | 1820240 | 154027205 | 0 | TKR | 2 | 1 | 0 | This error may be the result of one of the following: 1. Wiring problem between the device and the gateway. | 250 - Device communication | S59656 | Whitetail | H590016 | GameChange Tracker Control 2.2 | https://www.alsoenergy.com/pub/Images/tracker.png |  | 0 | True | True | False | 2026-06-08T15:04:00Z | 0.0 | 0 | False | True |  |  |  |  | 0 |  | 0 | GameChange Tracker Control 2.2 at Whitetail is not responding | 0 | 2026-06-08T15:02:00Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-08T15:04:00Z |  | Unable to verify name |  | 2026-06-08T15:06:56Z
x752e6865 | 2026-06-08T16:35:38Z | 1820242 | 154036316 | 0 | TKR | 2 | 1 | 0 | This error may be the result of one of the following: 1. Wiring problem between the device and the gateway. | 250 - Device communication | S59656 | Whitetail | H590017 | GameChange Tracker Control 2.1 | https://www.alsoenergy.com/pub/Images/tracker.png |  | 0 | True | True | False | 2026-06-08T16:32:00Z | 0.0 | 0 | False | True |  |  |  |  | 0 |  | 0 | GameChange Tracker Control 2.1 at Whitetail is not responding | 0 | 2026-06-08T16:30:00Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-08T16:32:00Z |  | Unable to verify name |  | 2026-06-08T16:35:06Z
x752ea556 | 2026-06-08T19:14:39Z | 1254381 | 154051917 | 0 | INV | 3 | 2 | 0 | Fan failure | 630 - Sungrow Inverter Fault Alert | S59656 | Whitetail | H312409 | SunGrow SG125HV - Inverter 22 | https://www.alsoenergy.com/pub/Images/Device/8237.png |  | 0 | True | True | False | 2026-06-08T19:11:00Z | 0.0 | 125 | False | True |  |  |  |  | 0 |  | 0 | Faults detected at Whitetail: SunGrow SG125HV - Inverter 22 | 0 | 2026-06-08T18:49:00Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-08T19:11:00Z |  | Unable to verify name |  | 2026-06-08T19:07:48Z
x752c5ba6 | 2026-06-08T09:15:54Z | 1703032 | 153901981 | 0 | UNK | 4 | 0 | 0 | Errors: , Performance (16) Communication: 3 test suites failed out of 5 (77 new messages) | 614 - Rule Tool Alert | S59656 | Whitetail |  |  |  |  | 0 | True | True | False | 2026-06-08T09:15:54Z | 0.0 |  | False | True |  |  |  |  | 0 |  | 0 | Rule Tool results for Whitetail (Communication, Configuration, Data, Performance) | 0 | 2026-06-07T11:29:05Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-08T09:15:54Z |  | Unable to verify name |  | 2026-06-07T11:29:05Z
x752da05f | 2026-06-08T09:09:09Z | 1820243 | 153985110 | 0 | TKR | 3 | 1 | 0 | Individual Tracker Alarm60: Tracking Disabled Individual Tracker Alarm60: E-Stop is pressed | 863 - Gamechange Tracker Alert | S59656 | Whitetail | H590017 | GameChange Tracker Control 2.1 | https://www.alsoenergy.com/pub/Images/tracker.png |  | 0 | True | True | False | 2026-06-08T08:36:00Z | 0.0 | 0 | False | True |  |  |  |  | 0 |  | 0 | Faults detected at Whitetail: GameChange Tracker Control 2.1 | 0 | 2026-06-08T02:36:00Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-08T08:36:00Z |  | Unable to verify name |  | 2026-06-08T02:39:27Z
x752dc4f5 | 2026-06-08T08:05:12Z | 1820242 | 153994476 | 0 | TKR | 2 | 1 | 0 | This error may be the result of one of the following: 1. Wiring problem between the device and the gateway. | 250 - Device communication | S59656 | Whitetail | H590017 | GameChange Tracker Control 2.1 | https://www.alsoenergy.com/pub/Images/tracker.png |  | 0 | True | True | False | 2026-06-08T08:02:00Z | 0.0 | 0 | False | True |  |  |  |  | 0 |  | 0 | GameChange Tracker Control 2.1 at Whitetail is not responding | 0 | 2026-06-08T08:00:00Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-08T08:02:00Z |  | Unable to verify name |  | 2026-06-08T08:04:46Z
x752dc6bf | 2026-06-08T08:28:19Z | 1820240 | 153994934 | 0 | TKR | 2 | 1 | 0 | This error may be the result of one of the following: 1. Wiring problem between the device and the gateway. | 250 - Device communication | S59656 | Whitetail | H590016 | GameChange Tracker Control 2.2 | https://www.alsoenergy.com/pub/Images/tracker.png |  | 0 | True | True | False | 2026-06-08T08:24:00Z | 0.0 | 0 | False | True |  |  |  |  | 0 |  | 0 | GameChange Tracker Control 2.2 at Whitetail is not responding | 0 | 2026-06-08T08:22:00Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-08T08:24:00Z |  | Unable to verify name |  | 2026-06-08T08:25:03Z
x752dcfb0 | 2026-06-08T09:43:12Z | 1820243 | 153997223 | 0 | TKR | 3 | 1 | 0 | Individual Tracker Alarm60: Tracking Disabled Individual Tracker Alarm60: E-Stop is pressed | 863 - Gamechange Tracker Alert | S59656 | Whitetail | H590017 | GameChange Tracker Control 2.1 | https://www.alsoenergy.com/pub/Images/tracker.png |  | 0 | True | True | False | 2026-06-08T09:40:00Z | 0.0 | 0 | False | True |  |  |  |  | 0 |  | 0 | Faults detected at Whitetail: GameChange Tracker Control 2.1 | 0 | 2026-06-08T08:42:00Z | US/Eastern | NaN | NaN | 0 | NaN | NaN | 2026-06-08T09:40:00Z |  | Unable to verify name |  | 2026-06-08T09:14:16Z

## API Probe Results
Endpoint / Label | Result
alerts | Dict keys: ['key', 'lastChanged', 'list'] ¦ list sizes: list=485
tree_/view/tree/C12941 | No response / error
tree_/view/portfolio/C12941 | Dict keys: ['key', 'lastChanged', 'merge', 'mergeHash', 'sites', 'customColumnNames'] ¦ list sizes: sites=35, customColumnNames=5
tree_/portfolio/C12941 | No response / error
tree_/view/customer/C12941 | No response / error
sites_/view/sites?key=C12941 | No response / error
sites_/view/sites/C12941 | No response / error
sites_/site/list?portfolio=C12941 | No response / error
site_/view/site/S40834 | Dict keys: ['key', 'lastChanged', 'cellModemContractStatus', 'cellModemContractAccessNote', 'cellModemContractCustomBanner', 'cellModemContractStartDate', 'cellModemContractWarnDate', 'cellModemContractEndDate', 'cellModemContractIsManual', 'cellModemContractTerminateDate', 'cellModemContractWillNotRenew', 'customerLogo', 'elevation', 'latitude', 'longitude', 'dailyProductionEstimate', 'monthlyProductionEstimate', 'name', 'parentKey', 'sitePhotos', 'status', 'defaultQuery', 'customQueryKey', 'overviewChart1', 'overviewChart2', 'requiresPubIp', 'address', 'validDataDate', 'estimatedLosses', 'paymentStatus', 'monitoringContractAccessNote', 'monitoringContractCustomBanner', 'monitoringContractStartDate', 'monitoringContractWarnDate', 'monitoringContractEndDate', 'monitoringContractIsManual', 'monitoringContractTerminateDate', 'monitoringContractWillNotRenew', 'monitoringContractStatus', 'siteType', 'poiExportLimit', 'poiImportLimit', 'capacityAc', 'capacityAcUnit', 'capacityDc', 'capacityDcUnit', 'installedSolarCapacityWithDcCoupledStorage', 'ratedStorageCapacityKw', 'ratedStorageCapacityKwUnit', 'ratedStorageEnergyCapacityKwh', 'ratedStorageEnergyCapacityKwhUnit', 'installedStorageCapacityKw', 'installedStorageCapacityKwUnit', 'installedStorageEnergyCapacityKwh', 'installedStorageEnergyCapacityKwhUnit', 'ratedPower', 'ratedPowerUnit', 'energyCapacity', 'energyCapacityUnit', 'isMonitored', 'weatherMode', 'workingStatus', 'advancedSiteConfiguration', 'estimatedCommissioningDate', 'actualCommissioningDate', 'preferredWSForEstimatedInsolation'] ¦ list sizes:
site_/site/S40834 | No response / error
site_/view/siteinfo/S40834 | No response / error
hw_/view/devices?siteKey=S40834 | No response / error
hw_/view/hardware?siteKey=S40834 | No response / error
hw_/hardware/list/S40834 | No response / error
prod_/view/production | No response / error
prod_/view/energy | No response / error
prod_/view/performance | No response / error
prod_/view/summary | No response / error
sitedata_/view/production | No response / error
sitedata_/view/siteproduction | No response / error
sitedata_/view/energydata | No response / error
wo_/view/workorders?key=C12941 | No response / error
wo_/view/servicerequests?key=C12941 | No response / error
wo_/view/notes?key=C12941 | No response / error