## Portfolio Overview
site_key | site_name | risk_score | risk_tier | open_alerts | total_alerts | rule_failures | urgency_label | comm_status | prod_status | has_active_alert | device_count
S65918 | C & B Graham Energy | 100 | Critical | 6 | 492 | 13 | High | Partial / Issues | Unknown | Yes | 55
S66930 | Elk Solar | 100 | Critical | 14 | 48 | 13 | High | Partial / Issues | Unknown | No | 52
S64603 | Shorthorn | 81 | Critical | 3 | 43 | 7 | High | Partial / Issues | Unknown | Yes | 91
S64602 | McLean | 74 | Critical | 1 | 5 | 8 | High | Partial / Issues | Unknown | Yes | 59
S44882 | Monroe Landfill | 73 | Critical | 2 | 28 | 6 | High | Partial / Issues | Unknown | Yes | 32
S70645 | Williams Solar, LLC | 73 | Critical | 2 | 177 | 6 | High | Partial / Issues | Unknown | Yes | 56
S54681 | Eagle | 70 | Critical | 2 | 12 | 11 | High | Unknown | Unknown | Yes | 32
S70532 | Longleaf Pine Solar, LLC | 69 | Critical | 0 | 94 | 8 | High | Partial / Issues | Unknown | Yes | 57
S40835 | Gallia Academy | 65 | Critical | 0 | 29 | 5 | High | Partial / Issues | Below Expected | Yes | 26
S59656 | Whitetail | 59 | High | 0 | 372 | 8 | High | Unknown | Unknown | Yes | 99
S65787 | Sunflower Solar | 58 | High | 1 | 639 | 6 | High | Unknown | Unknown | Yes | 103
S65788 | Gray Fox Solar | 56 | High | 0 | 5 | 7 | High | Unknown | Unknown | Yes | 56
S51960 | WCPS - Kate Collins Middle School | 55 | High | 2 | 3 | 5 | Medium | Unknown | Below Expected | No | 9
S65784 | Washington Solar | 49 | High | 0 | 329 | 8 | Medium | Unknown | Unknown | No | 58
S44566 | RIT | 49 | High | 1 | 7 | 3 | High | Unknown | Unknown | No | 35
S63840 | Upson | 49 | High | 1 | 6 | 3 | High | Unknown | Unknown | Yes | 39
S65216 | Green Solar | 48 | High | 0 | 3 | 1 | High | Partial / Issues | Unknown | No | 16
S51957 | WCPS - William Perry Elementary School | 47 | High | 1 | 4 | 4 | Medium | Unknown | Below Expected | Yes | 10
S63838 | Bulloch 1A | 46 | High | 1 | 5 | 2 | High | Unknown | Unknown | Yes | 38
S40834 | Green Elementary | 44 | High | 0 | 5 | 3 | High | Unknown | Unknown | Yes | 16
S54553 | Butler Maple | 44 | High | 1 | 2 | 3 | High | All Communicating | Unknown | Yes | 14
S65785 | Harding Solar | 43 | High | 0 | 6 | 6 | Medium | Unknown | Unknown | Yes | 41
S66001 | Sheridan Solar | 41 | High | 0 | 4 | 2 | High | Unknown | Unknown | No | 15
S44485 | RRH 1 & 2 | 40 | Medium | 0 | 23 | 5 | Medium | Unknown | Unknown | Yes | 75
S40836 | Rio Grande Elementary | 39 | Medium | 0 | 14 | 3 | Medium | Unknown | Below Expected | No | 19
S51959 | WCPS - Waynesboro High School | 37 | Medium | 0 | 1 | 4 | Medium | Unknown | Unknown | Yes | 7
S65786 | Whitehall Solar | 37 | Medium | 0 | 26 | 4 | Medium | Unknown | Unknown | No | 31
S51958 | WCPS - Westwood Hills Elementary School | 36 | Medium | 0 | 1 | 2 | High | All Communicating | Unknown | Yes | 7
S54613 | Warbler | 35 | Medium | 1 | 74 | 0 | Medium | Unknown | Below Expected | Yes | 43
S63837 | Bulloch 1B | 34 | Medium | 0 | 170 | 3 | Medium | Unknown | Unknown | Yes | 39
S63839 | Richmond | 30 | Medium | 1 | 7 | 5 | Low | Unknown | On Track | No | 38
S66000 | Auburn Solar | 10 | Low | 0 | 7 | 0 | Low | All Communicating | Unknown | Yes | 15
S68113 | Marble Solar | 5 | Low | 0 | 14 | 0 | Clean | All Communicating | Unknown | Yes | 14
S68112 | Wallace Solar |  | nan |  |  | 2 | High | Unknown | Unknown | Yes | 14

## Risk Matrix
site_name | risk_score | risk_tier | open_alerts | rule_failures | urgency_label | comm_status | prod_status
C & B Graham Energy | 100 | Critical | 6 | 13 | High | Partial / Issues | Unknown
Elk Solar | 100 | Critical | 14 | 13 | High | Partial / Issues | Unknown
Shorthorn | 81 | Critical | 3 | 7 | High | Partial / Issues | Unknown
McLean | 74 | Critical | 1 | 8 | High | Partial / Issues | Unknown
Monroe Landfill | 73 | Critical | 2 | 6 | High | Partial / Issues | Unknown
Williams Solar, LLC | 73 | Critical | 2 | 6 | High | Partial / Issues | Unknown
Eagle | 70 | Critical | 2 | 11 | High | Unknown | Unknown
Longleaf Pine Solar, LLC | 69 | Critical | 0 | 8 | High | Partial / Issues | Unknown
Gallia Academy | 65 | Critical | 0 | 5 | High | Partial / Issues | Below Expected
Whitetail | 59 | High | 0 | 8 | High | Unknown | Unknown
Sunflower Solar | 58 | High | 1 | 6 | High | Unknown | Unknown
Gray Fox Solar | 56 | High | 0 | 7 | High | Unknown | Unknown
WCPS - Kate Collins Middle School | 55 | High | 2 | 5 | Medium | Unknown | Below Expected
Washington Solar | 49 | High | 0 | 8 | Medium | Unknown | Unknown
RIT | 49 | High | 1 | 3 | High | Unknown | Unknown
Upson | 49 | High | 1 | 3 | High | Unknown | Unknown
Green Solar | 48 | High | 0 | 1 | High | Partial / Issues | Unknown
WCPS - William Perry Elementary School | 47 | High | 1 | 4 | Medium | Unknown | Below Expected
Bulloch 1A | 46 | High | 1 | 2 | High | Unknown | Unknown
Green Elementary | 44 | High | 0 | 3 | High | Unknown | Unknown
Butler Maple | 44 | High | 1 | 3 | High | All Communicating | Unknown
Harding Solar | 43 | High | 0 | 6 | Medium | Unknown | Unknown
Sheridan Solar | 41 | High | 0 | 2 | High | Unknown | Unknown
RRH 1 & 2 | 40 | Medium | 0 | 5 | Medium | Unknown | Unknown
Rio Grande Elementary | 39 | Medium | 0 | 3 | Medium | Unknown | Below Expected
WCPS - Waynesboro High School | 37 | Medium | 0 | 4 | Medium | Unknown | Unknown
Whitehall Solar | 37 | Medium | 0 | 4 | Medium | Unknown | Unknown
WCPS - Westwood Hills Elementary School | 36 | Medium | 0 | 2 | High | All Communicating | Unknown
Warbler | 35 | Medium | 1 | 0 | Medium | Unknown | Below Expected
Bulloch 1B | 34 | Medium | 0 | 3 | Medium | Unknown | Unknown
Richmond | 30 | Medium | 1 | 5 | Low | Unknown | On Track
Auburn Solar | 10 | Low | 0 | 0 | Low | All Communicating | Unknown
Marble Solar | 5 | Low | 0 | 0 | Clean | All Communicating | Unknown
Wallace Solar |  | nan |  | 2 | High | Unknown | Unknown

## Alerts by Site
site_name | event_type_name | count | open_count | avg_severity
Sunflower Solar | Device communication | 623 | 0 | 0
C & B Graham Energy | Solectria XGI 1500 Series - Fault Alert | 314 | 1 | 0.015924
Washington Solar | Device communication | 312 | 0 | 0
Whitetail | Device communication | 193 | 0 | 0
Bulloch 1B | Device communication | 165 | 0 | 0
Whitetail | Gamechange Tracker Alert | 121 | 0 | 0
C & B Graham Energy | Solectria XGI 1000 Series - Fault Alert | 119 | 1 | 0.042017
Williams Solar, LLC | Device communication | 102 | 1 | 0.04902
Longleaf Pine Solar, LLC | Device communication | 80 | 0 | 0
Williams Solar, LLC | Sungrow Inverter Fault Alert | 67 | 1 | 0.074627
C & B Graham Energy | Device communication | 49 | 2 | 0.20408
Whitetail | Sungrow Inverter Fault Alert | 43 | 0 | 0
Warbler | Inverter / irradiance check | 36 | 0 | 0
Warbler | Sungrow Inverter Fault Alert | 30 | 0 | 0
Gallia Academy | Power Meter Check 2.0 | 29 | 0 | 0
RRH 1 & 2 | Power Meter Check 2.0 | 23 | 0 | 0
Elk Solar | Device heartbeat | 22 | 5 | 1.1364
Elk Solar | Sungrow Inverter Fault Alert | 20 | 9 | 2.25
Shorthorn | Power Meter Check 2.0 | 16 | 0 | 0
Whitehall Solar | Device communication | 15 | 0 | 0
Washington Solar | Phoenix Contact - Quint UPS Alerts | 13 | 0 | 0
Rio Grande Elementary | Power Meter Check 2.0 | 13 | 0 | 0
Monroe Landfill | Power Meter Check 2.0 | 11 | 0 | 0
Shorthorn | Solar FlexRack Tracker Alert (revG) | 10 | 2 | 1
Sunflower Solar | Transformer Monitor | 9 | 0 | 0
Whitehall Solar | Phoenix Contact - Quint UPS Alerts | 8 | 0 | 0
Williams Solar, LLC | Phoenix Contact - Quint UPS Alerts (QUINT4 EIP) | 8 | 0 | 0
Marble Solar | Device communication | 8 | 0 | 0
Eagle | .Chint / Solectria / Canadian String Inv Faults | 8 | 2 | 1.25
Shorthorn | Device communication | 7 | 0 | 0
Shorthorn | Rule Tool Alert | 7 | 1 | 0.71429
Longleaf Pine Solar, LLC | Phoenix Contact - Quint UPS Alerts (QUINT4 EIP) | 7 | 0 | 0
C & B Graham Energy | Rule Tool Alert | 7 | 1 | 0.71429
RIT | Rule Tool Alert | 7 | 1 | 0.71429
Monroe Landfill | Rule Tool Alert | 7 | 1 | 0.71429
Richmond | Rule Tool Alert | 7 | 1 | 0.71429
Sunflower Solar | Rule Tool Alert | 7 | 1 | 0.71429
Marble Solar | Sungrow 3150U/3425U/3600U inverter alerts | 6 | 0 | 0
Upson | Rule Tool Alert | 6 | 1 | 0.83333
Elk Solar | Rule Tool Alert | 6 | 0 | 0
Whitetail | Rule Tool Alert | 6 | 0 | 0
Harding Solar | Phoenix Contact - Quint UPS Alerts | 6 | 0 | 0
McLean | Rule Tool Alert | 5 | 1 | 1
Green Elementary | Power Meter Check 2.0 | 5 | 0 | 0
Warbler | Gateway heartbeat | 5 | 0 | 0
Monroe Landfill | .Chint / Solectria / Canadian String Inv Faults | 5 | 1 | 1
Bulloch 1B | Rule Tool Alert | 4 | 0 | 0
Bulloch 1A | Rule Tool Alert | 4 | 1 | 1.25
Auburn Solar | Device communication | 4 | 0 | 0
WCPS - William Perry Elementary School | Rule Tool Alert | 4 | 1 | 1.25
Sheridan Solar | Rule Tool Alert | 4 | 0 | 0
Longleaf Pine Solar, LLC | Transformer Monitor | 4 | 0 | 0
Monroe Landfill | Gateway heartbeat | 4 | 0 | 0
Washington Solar | Power Meter Check 2.0 | 3 | 0 | 0
Shorthorn | Sungrow Inverter Fault Alert | 3 | 0 | 0
Gray Fox Solar | SEL Recloser Open Alarm | 3 | 0 | 0
Green Solar | Device communication | 3 | 0 | 0
Longleaf Pine Solar, LLC | Sungrow Inverter Fault Alert | 3 | 0 | 0
Auburn Solar | Rule Tool Alert | 3 | 0 | 0
Eagle | Gateway heartbeat | 3 | 0 | 0
Whitetail | SEL Recloser Open Alarm | 2 | 0 | 0
WCPS - Kate Collins Middle School | Device communication | 2 | 1 | 2.5
Warbler | Rule Tool Alert | 2 | 1 | 2.5
Whitetail | Data Comparison Alert | 2 | 0 | 0
C & B Graham Energy | Solar FlexRack Tracker Alert | 2 | 1 | 2.5
Butler Maple | Rule Tool Alert | 2 | 1 | 2.5
Whitehall Solar | Transformer Monitor | 2 | 0 | 0
Whitetail | Site Controller Health | 2 | 0 | 0
Whitetail | Phoenix Contact - Quint UPS Alerts | 2 | 0 | 0
C & B Graham Energy | Gateway heartbeat | 1 | 0 | 0
Bulloch 1B | Sungrow Inverter Fault Alert | 1 | 0 | 0
Bulloch 1A | Solar FlexRack Tracker Alert (revG) | 1 | 0 | 0
Eagle | Device heartbeat | 1 | 0 | 0
Rio Grande Elementary | Weather Station Alert | 1 | 0 | 0
Gray Fox Solar | Phoenix Contact - Quint UPS Alerts | 1 | 0 | 0
Gray Fox Solar | Solar FlexRack/OMCO Tracker Alert (revM) | 1 | 0 | 0
Monroe Landfill | Inverter stopped alert | 1 | 0 | 0
Washington Solar | SEL Recloser Open Alarm | 1 | 0 | 0
WCPS - Westwood Hills Elementary School | Device communication | 1 | 0 | 0
WCPS - Waynesboro High School | Performance Index Alert | 1 | 0 | 0
WCPS - Kate Collins Middle School | Performance Index Alert | 1 | 1 | 5
Warbler | Phoenix Contact - Quint UPS Alerts | 1 | 0 | 0
Whitetail | Gateway heartbeat | 1 | 0 | 0
Whitehall Solar | SEL Recloser Open Alarm | 1 | 0 | 0

## Hardware Failure Map
site_name | hardware_name | asset_code | alert_count
Whitetail | GameChange Tracker Control 2.1 | TKR | 149
C & B Graham Energy | INVERTER 20 | INV | 122
C & B Graham Energy | INVERTER 4 | INV | 99
C & B Graham Energy | INVERTER 25 | INV | 89
Williams Solar, LLC | INVERTER A20 | INV | 68
C & B Graham Energy | INVERTER 1 | INV | 55
C & B Graham Energy | INVERTER 22 | INV | 26
Bulloch 1B | Inverter 18 | INV | 24
Washington Solar | INVERTER 8 | INV | 23
Sunflower Solar | INVERTER 21 | INV | 22
Sunflower Solar | INVERTER 69 | INV | 21
Washington Solar | INVERTER 16 | INV | 21
Sunflower Solar | INVERTER 42 | INV | 21
Sunflower Solar | INVERTER 22 | INV | 21
Washington Solar | INVERTER 15 | INV | 20
Sunflower Solar | INVERTER 48 | INV | 19
Washington Solar | INVERTER 1 | INV | 19
Bulloch 1B | Inverter 14 | INV | 18
Washington Solar | INVERTER 17 | INV | 18
Washington Solar | INVERTER 6 | INV | 17
Sunflower Solar | INVERTER 26 | INV | 17
Bulloch 1B | Inverter 16 | INV | 17
Sunflower Solar | INVERTER 63 | INV | 17
Shorthorn | METER - PRODUCTION | MTR | 16
Gallia Academy | Elkor Production Meter (Main) | MTR | 16
Sunflower Solar | INVERTER 46 | INV | 16
Washington Solar | INVERTER 3 | INV | 16
Sunflower Solar | INVERTER 50 | INV | 16
Sunflower Solar | INVERTER 64 | INV | 15
Washington Solar | INVERTER 9 | INV | 15
Washington Solar | INVERTER 14 | INV | 15
Sunflower Solar | INVERTER 73 | INV | 15
Bulloch 1B | Inverter 13 | INV | 15
Sunflower Solar | INVERTER 41 | INV | 15
Sunflower Solar | INVERTER 28 | INV | 15
Bulloch 1B | Inverter 17 | INV | 15
Sunflower Solar | INVERTER 72 | INV | 14
Washington Solar | INVERTER 13 | INV | 14
Whitetail | GameChange Tracker Control 2.2 | TKR | 14
Washington Solar | INVERTER 7 | INV | 14
Washington Solar | INVERTER 12 | INV | 14
Washington Solar | INVERTER 2 | INV | 14
Bulloch 1B | Inverter 22 | INV | 14
Sunflower Solar | INVERTER 66 | INV | 14
Sunflower Solar | INVERTER 61 | INV | 14
Sunflower Solar | INVERTER 23 | INV | 14
Sunflower Solar | INVERTER 70 | INV | 14
Gallia Academy | Elkor Production Meter (Remote) | MTR | 13
Bulloch 1B | Inverter 24 | INV | 13
Rio Grande Elementary | Elkor Production Meter | MTR | 13
Sunflower Solar | INVERTER 45 | INV | 13
Washington Solar | ALSOENERGY SMART UPS | DA | 13
Washington Solar | INVERTER 10 | INV | 13
Washington Solar | INVERTER 19 | INV | 12
Shorthorn | TRACKER CONTROL (ST1) | TKR | 12
RRH 1 & 2 | Elkor Production Meter Site 2 | MTR | 12
Sunflower Solar | INVERTER 27 | INV | 12
Washington Solar | INVERTER 11 | INV | 12
C & B Graham Energy | INVERTER 14 | INV | 12
Sunflower Solar | INVERTER 62 | INV | 12
Sunflower Solar | INVERTER 49 | INV | 12
Sunflower Solar | INVERTER 51 | INV | 12
Sunflower Solar | INVERTER 35 | INV | 11
Washington Solar | INVERTER 5 | INV | 11
Whitetail | GameChange Tracker Control 2.3 | TKR | 11
Bulloch 1B | Inverter 23 | INV | 11
RRH 1 & 2 | Elkor Production Meter Site 1 | MTR | 11
Monroe Landfill | Elkor Production Meter | MTR | 11
Bulloch 1B | Inverter 21 | INV | 11
Bulloch 1B | Inverter 19 | INV | 11
Sunflower Solar | INVERTER 53 | INV | 11
Sunflower Solar | INVERTER 56 | INV | 11
Sunflower Solar | INVERTER 71 | INV | 11
Sunflower Solar | INVERTER 67 | INV | 11
Sunflower Solar | INVERTER 33 | INV | 11
Longleaf Pine Solar, LLC | INVERTER B5 | INV | 11
Williams Solar, LLC | INVERTER B15 | INV | 10
Sunflower Solar | INVERTER 30 | INV | 10
Sunflower Solar | INVERTER 44 | INV | 10
Williams Solar, LLC | INVERTER B16 | INV | 10
Williams Solar, LLC | INVERTER B14 | INV | 10
Sunflower Solar | INVERTER 24 | INV | 10
Sunflower Solar | INVERTER 31 | INV | 10
Sunflower Solar | INVERTER 47 | INV | 10
Sunflower Solar | INVERTER 76 | INV | 9
Washington Solar | INVERTER 20 | INV | 9
Bulloch 1B | Inverter 20 | INV | 9
Sunflower Solar | INVERTER 25 | INV | 9
Sunflower Solar | INVERTER 65 | INV | 9
Sunflower Solar | INVERTER 55 | INV | 9
Whitehall Solar | ALSOENERGY SMART UPS | DA | 8
Williams Solar, LLC | ALSOENERGY SMART UPS | DA | 8
Williams Solar, LLC | INVERTER B11 | INV | 8
C & B Graham Energy | INVERTER 10 | INV | 8
Sunflower Solar | INVERTER 75 | INV | 8
Sunflower Solar | INVERTER 74 | INV | 8
Washington Solar | INVERTER 18 | INV | 8
Sunflower Solar | INVERTER 43 | INV | 8
Longleaf Pine Solar, LLC | INVERTER B3 | INV | 8
Sunflower Solar | INVERTER 29 | INV | 8

## Rules vs Alerts
Site Name | Rule Name | fail_count | total_alerts

## Device Type Breakdown
Site Name | Camera | Cellular Modem | DC Zone / String Monitor | Datalogger | Generic Device / Module | Inverter | Production Meter | String Inverter Group | Tracker Controller | Unknown (20) | Unknown (21) | Unknown (35) | Weather / Pyranometer
Auburn Solar | 1 | 1 | 1 | 1 | 4 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 4
Bulloch 1A | 1 | 0 | 0 | 1 | 4 | 24 | 1 | 2 | 1 | 0 | 0 | 0 | 4
Bulloch 1B | 1 | 0 | 0 | 2 | 4 | 24 | 1 | 2 | 1 | 0 | 0 | 0 | 4
Butler Maple | 1 | 0 | 2 | 1 | 3 | 1 | 1 | 0 | 2 | 0 | 1 | 0 | 2
C & B Graham Energy | 1 | 0 | 0 | 2 | 4 | 35 | 3 | 0 | 6 | 0 | 0 | 0 | 4
Eagle | 0 | 1 | 0 | 3 | 0 | 24 | 1 | 0 | 0 | 0 | 0 | 0 | 3
Elk Solar | 0 | 0 | 0 | 0 | 3 | 43 | 1 | 2 | 2 | 0 | 0 | 0 | 1
Gallia Academy | 0 | 0 | 0 | 1 | 1 | 20 | 2 | 0 | 0 | 0 | 0 | 0 | 2
Gray Fox Solar | 1 | 1 | 0 | 1 | 4 | 40 | 1 | 2 | 2 | 0 | 0 | 0 | 4
Green Elementary | 0 | 0 | 0 | 1 | 1 | 11 | 1 | 0 | 0 | 0 | 0 | 0 | 2
Green Solar | 1 | 1 | 1 | 1 | 4 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 4
Harding Solar | 1 | 1 | 0 | 1 | 4 | 24 | 1 | 2 | 3 | 0 | 0 | 0 | 4
Longleaf Pine Solar, LLC | 1 | 1 | 0 | 2 | 4 | 40 | 1 | 2 | 2 | 0 | 0 | 0 | 4
Marble Solar | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 4
McLean | 1 | 0 | 0 | 1 | 5 | 40 | 1 | 2 | 3 | 0 | 0 | 0 | 6
Monroe Landfill | 0 | 0 | 0 | 2 | 1 | 27 | 1 | 0 | 0 | 0 | 0 | 0 | 1
RIT | 0 | 0 | 0 | 2 | 1 | 27 | 2 | 0 | 0 | 0 | 0 | 0 | 3
RRH 1 & 2 | 0 | 0 | 0 | 3 | 1 | 66 | 2 | 0 | 0 | 1 | 0 | 0 | 2
Richmond | 1 | 0 | 0 | 1 | 4 | 24 | 1 | 2 | 1 | 0 | 0 | 0 | 4
Rio Grande Elementary | 0 | 0 | 0 | 1 | 1 | 13 | 1 | 0 | 0 | 0 | 0 | 0 | 3
Sheridan Solar | 1 | 1 | 1 | 1 | 4 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 4
Shorthorn | 1 | 0 | 0 | 1 | 6 | 72 | 1 | 2 | 3 | 0 | 0 | 0 | 5
Sunflower Solar | 1 | 1 | 0 | 3 | 7 | 80 | 1 | 2 | 4 | 0 | 0 | 0 | 4
Upson | 2 | 0 | 0 | 1 | 4 | 24 | 1 | 2 | 1 | 0 | 0 | 0 | 4
WCPS - Kate Collins Middle School | 0 | 0 | 0 | 1 | 1 | 5 | 1 | 0 | 0 | 0 | 0 | 0 | 1
WCPS - Waynesboro High School | 0 | 0 | 0 | 1 | 1 | 3 | 1 | 0 | 0 | 0 | 0 | 0 | 1
WCPS - Westwood Hills Elementary School | 0 | 0 | 0 | 1 | 1 | 3 | 1 | 0 | 0 | 0 | 0 | 0 | 1
WCPS - William Perry Elementary School | 0 | 1 | 0 | 2 | 2 | 3 | 1 | 0 | 0 | 0 | 0 | 0 | 1
Wallace Solar | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 4
Warbler | 0 | 0 | 0 | 2 | 3 | 32 | 1 | 0 | 1 | 0 | 0 | 0 | 4
Washington Solar | 1 | 0 | 0 | 1 | 6 | 40 | 1 | 2 | 3 | 0 | 0 | 0 | 4
Whitehall Solar | 1 | 0 | 0 | 2 | 4 | 16 | 1 | 2 | 1 | 0 | 0 | 0 | 4
Whitetail | 1 | 0 | 0 | 2 | 3 | 80 | 1 | 2 | 5 | 0 | 0 | 0 | 5
Williams Solar, LLC | 1 | 1 | 0 | 1 | 4 | 40 | 1 | 2 | 2 | 0 | 0 | 0 | 4

## Full Site Master
site_key | site_name | total_alerts | open_alerts | rule_failures | urgency_score | urgency_label | comm_status | prod_status | has_active_alert | device_count | current_kw | risk_score | risk_tier
S65918 | C & B Graham Energy | 492 | 6 | 13 | 3 | High | Partial / Issues | Unknown | Yes | 55 | 574.63 | 100 | Critical
S66930 | Elk Solar | 48 | 14 | 13 | 3 | High | Partial / Issues | Unknown | No | 52 | 220.76 | 100 | Critical
S64603 | Shorthorn | 43 | 3 | 7 | 3 | High | Partial / Issues | Unknown | Yes | 91 | 632.33 | 81 | Critical
S64602 | McLean | 5 | 1 | 8 | 3 | High | Partial / Issues | Unknown | Yes | 59 | 305.56 | 74 | Critical
S44882 | Monroe Landfill | 28 | 2 | 6 | 3 | High | Partial / Issues | Unknown | Yes | 32 | 28.14 | 73 | Critical
S70645 | Williams Solar, LLC | 177 | 2 | 6 | 3 | High | Partial / Issues | Unknown | Yes | 56 | 168.89 | 73 | Critical
S54681 | Eagle | 12 | 2 | 11 | 3 | High | Unknown | Unknown | Yes | 32 | 166.22 | 70 | Critical
S70532 | Longleaf Pine Solar, LLC | 94 | 0 | 8 | 3 | High | Partial / Issues | Unknown | Yes | 57 | 0 | 69 | Critical
S40835 | Gallia Academy | 29 | 0 | 5 | 3 | High | Partial / Issues | Below Expected | Yes | 26 | 53.09 | 65 | Critical
S59656 | Whitetail | 372 | 0 | 8 | 3 | High | Unknown | Unknown | Yes | 99 | 301.06 | 59 | High
S65787 | Sunflower Solar | 639 | 1 | 6 | 3 | High | Unknown | Unknown | Yes | 103 | -20.48 | 58 | High
S65788 | Gray Fox Solar | 5 | 0 | 7 | 3 | High | Unknown | Unknown | Yes | 56 | 178.43 | 56 | High
S51960 | WCPS - Kate Collins Middle School | 3 | 2 | 5 | 2 | Medium | Unknown | Below Expected | No | 9 | 33.74 | 55 | High
S65784 | Washington Solar | 329 | 0 | 8 | 2 | Medium | Unknown | Unknown | No | 58 | 311.21 | 49 | High
S44566 | RIT | 7 | 1 | 3 | 3 | High | Unknown | Unknown | No | 35 | 72.74 | 49 | High
S63840 | Upson | 6 | 1 | 3 | 3 | High | Unknown | Unknown | Yes | 39 | 180 | 49 | High
S65216 | Green Solar | 3 | 0 | 1 | 3 | High | Partial / Issues | Unknown | No | 16 | 541.68 | 48 | High
S51957 | WCPS - William Perry Elementary School | 4 | 1 | 4 | 2 | Medium | Unknown | Below Expected | Yes | 10 | 8.42 | 47 | High
S63838 | Bulloch 1A | 5 | 1 | 2 | 3 | High | Unknown | Unknown | Yes | 38 | 276 | 46 | High
S40834 | Green Elementary | 5 | 0 | 3 | 3 | High | Unknown | Unknown | Yes | 16 | 14.14 | 44 | High
S54553 | Butler Maple | 2 | 1 | 3 | 3 | High | All Communicating | Unknown | Yes | 14 | 3913.66 | 44 | High
S65785 | Harding Solar | 6 | 0 | 6 | 2 | Medium | Unknown | Unknown | Yes | 41 | 153.46 | 43 | High
S66001 | Sheridan Solar | 4 | 0 | 2 | 3 | High | Unknown | Unknown | No | 15 | 1508.25 | 41 | High
S44485 | RRH 1 & 2 | 23 | 0 | 5 | 2 | Medium | Unknown | Unknown | Yes | 75 | 184 | 40 | Medium
S40836 | Rio Grande Elementary | 14 | 0 | 3 | 2 | Medium | Unknown | Below Expected | No | 19 | 16.36 | 39 | Medium
S51959 | WCPS - Waynesboro High School | 1 | 0 | 4 | 2 | Medium | Unknown | Unknown | Yes | 7 | 12.48 | 37 | Medium
S65786 | Whitehall Solar | 26 | 0 | 4 | 2 | Medium | Unknown | Unknown | No | 31 | 32.37 | 37 | Medium
S51958 | WCPS - Westwood Hills Elementary School | 1 | 0 | 2 | 3 | High | All Communicating | Unknown | Yes | 7 | 16.59 | 36 | Medium
S54613 | Warbler | 74 | 1 | 0 | 2 | Medium | Unknown | Below Expected | Yes | 43 | 86.12 | 35 | Medium
S63837 | Bulloch 1B | 170 | 0 | 3 | 2 | Medium | Unknown | Unknown | Yes | 39 | 108 | 34 | Medium
S63839 | Richmond | 7 | 1 | 5 | 1 | Low | Unknown | On Track | No | 38 | 120 | 30 | Medium
S66000 | Auburn Solar | 7 | 0 | 0 | 1 | Low | All Communicating | Unknown | Yes | 15 | 918.41 | 10 | Low
S68113 | Marble Solar | 14 | 0 | 0 | 0 | Clean | All Communicating | Unknown | Yes | 14 | 2840.55 | 5 | Low
S68112 | Wallace Solar |  |  | 2 | 3 | High | Unknown | Unknown | Yes | 14 | 661.89 |  | nan